MAKİNA MÜHENDİSLİĞİ BÖLÜMÜ ME 492 ENGINEERING PROJECT

PROJECT ANNOUNCEMENT

Spring 2026

Title: Cuffless Blood Pressure Monitoring System

Position Ref: BPMS

Type: Individual

Status: New

Seats: 1 student

Project Description:

This project aims to develop a cuffless blood pressure monitoring system using advanced sensors and algorithms for non-invasive measurement. The project will explore different sensor technologies, such as PPG (photoplethysmogram) and tonometry, to estimate blood pressure without the need for traditional cuff-based methods. The system will be designed to be wearable, portable, and easy to use, addressing the growing demand for continuous health monitoring devices.

Work Description:

- Review of current cuffless blood pressure measurement technologies.

- Design and selection of suitable sensors for accurate measurement.

- Development of algorithms for processing sensor data to calculate blood pressure.

- Integration of the sensor system into a wearable device.

- Testing and calibration of the system for accuracy and reliability.

Required Qualifications and Skills:

- Familiarity with sensors (e.g., PPG, tonometry).

- Basic understanding of signal processing and algorithm development.

- Experience with wearable device design and integration.

- Interest in health technology and biomedical engineering.

Related UN Sustainable Development Goals:

- 3: Good Health and Well-Being

Difficulty:		high ( ) 	medium (x)		low ( )

Time commitment: 	high (x)	medium ( )		low ( )

Estimated expense:	TBD

1